Nucleus 7 maintenance

Batteries: disposable and rechargeable

- small rechargeable should last up to 19 hours

- bigger rechargeable should last up to 40 hours

- disposable batteries should last up to 48 hours

- batteries should be changed/charged every day

Top tips:

- Before bed-time wipe the outside of the processor, coil and cable with a soft dry cloth; this prevents dirt building up.

- Place it in the dry&store container overnight which removes moisture from the inside. Do this every night to prolong the life of your processor. In your dry&store container you have a dry-brick to absorb all the moisture; this needs to be changed every 2 months.

- Once a week take apart your processor leaving the ear hook attached, clean it with a soft dry cloth. Then gently tap or blow on the battery contact to remove dust.

- The microphone on your processor has a protective cover to keep dust and moisture out, they can get clogged over time and must be changed every 2-3 months.

- Make sure your cable is the right length if not they can get twisted and break.

- Please avoid getting sand or dust in your processor.

https://www.youtube.com/watch?v=hi4pQosWtfQ&feature=share

https://www.youtube.com/watch?v=K16My_yluRo&feature=share

https://www.youtube.com/watch?v=K16My_yluRo&feature=share

https://www.youtube.com/watch?v=hi4pQosWtfQ&feature=share